## 2022 Summary Data
EDM Storm Overflow Annual Return Summary Reporting 2022
Table 1: 2022 EDM Headlines
Table 2: 2022 EDM Summary Statistics
Table 3: 2022 EDM Device Operation
Table 4: 2022 Storm Overflow Spill Performance
Table 5: 2022 Storm Overflow Spill Reasons
Table 6: 2022 EDM Storm Overflow Annual Return Data Entry
Table 1: 2022 EDM Headlines | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Totals / Average
Total no. storm overflows listed in the annual return in 2022 | 1552 | 126 | 1564 | 2466 | 1342 | 978 | 777 | 2254 | 1300 | 2221 | 14580
Total no. storm overflows with EDM commissioned | 1058 | 126 | 1542 | 2457 | 1333 | 963 | 480 | 2004 | 1182 | 2178 | 13323
% overflows listed with EDM commissioned | 68.17% | 100% | 98.59% | 99.64% | 99.33% | 98.47% | 61.78% | 88.91% | 90.92% | 98.06% | 91.38%
Total no. storm overflows with spill data in 2022 | 1054 | 120 | 1463 | 2438 | 1323 | 939 | 472 | 1971 | 1182 | 2118 | 13080
Average no. spills per storm overflow with spill data in 2022 | 15.2581 | 23.3333 | 20.2987 | 18.3614 | 28.4573 | 17.7721 | 16.9788 | 35.1319 | 18.5093 | 25.6246 | 23.0192
Average duration (hrs) per monitored spill event in 2022 | 5.5661 | 3.3821 | 3.6211 | 5.565 | 7.7099 | 8.7979 | 9.3203 | 6.1447 | 5.9401 | 4.2757 | 5.8285
Table 2: 2022 EDM Summary Statistics | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Totals / Average
Total no. number of monitored spill events in 2022 | 16082 | 2800 | 29697 | 44765 | 37649 | 16688 | 8014 | 69245 | 21878 | 54273 | 301091
Average no. spills per storm overflow with spill data in 2022 | 15.2581 | 23.3333 | 20.2987 | 18.3614 | 28.4573 | 17.7721 | 16.9788 | 35.1319 | 18.5093 | 25.6246 | 23.0192
Total duration (hrs) of monitored spill events in 2022 | 89513.8553 | 9469.75 | 107536.2703 | 249115.9102 | 290271.33 | 146819.4967 | 74693.2566 | 425490.63 | 129957.3255 | 232053.5991 | 1754921.4237
Average duration (hrs) per monitored spill event in 2022 | 5.5661 | 3.3821 | 3.6211 | 5.565 | 7.7099 | 8.7979 | 9.3203 | 6.1447 | 5.9401 | 4.2757 | 5.8285
% storm overflows spilled ≤10 times in 2022 | 55.69% | 45.83% | 47.44% | 54.22% | 48.6% | 51.76% | 54.24% | 39.52% | 48.22% | 44.33% | 48.4%
Percentage time operating [spilling] during 2022 per overflow (average) | 0.9695% | 0.9009% | 0.8391% | 1.166% | 2.505% | 1.785% | 1.806% | 2.464% | 1.255% | 1.251% | 1.532%
Table 3: 2022 EDM Device Operation | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Totals / Average
Total no. storm overflows with EDM Operation data | 1058 | 126 | 1542 | 2457 | 1333 | 963 | 479 | 1863 | 1182 | 2178 | 13181
% storm overflows with EDM Operation data provided where expected | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 92.96% | 100% | 100% | 98.95%
% storm overflows with 0% EDM Operation during reporting period | 0.3781% | 4.762% | 5.123% | 0.7733% | 0.7502% | 2.492% | 1.461% | 0% | 0% | 2.755% | 1.586%
% storm overflows with ≥90% EDM Operation during reporting period | 91.12% | 82.54% | 81.97% | 70.7% | 84.85% | 87.23% | 85.8% | 95.87% | 93.74% | 76.81% | 83.59%
% storm overflows with <90% EDM Operation during reporting period | 8.885% | 17.46% | 18.03% | 29.3% | 15.15% | 12.77% | 14.2% | 4.187% | 6.261% | 23.19% | 16.42%
% of those with <90% operability with reason provided | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100.1%
Table 4: 2022 Storm Overflow Spill Performance | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Totals / Average
% with EDM installed & provided count data - with 0 spill count (did not spill) | 13.09% | 15.83% | 14.22% | 20.1% | 23.58% | 19.6% | 19.92% | 15.27% | 15.99% | 16.76% | 17.51%
% storm overflows with spill data - recorded ≥1 spill count | 86.91% | 84.17% | 85.78% | 79.9% | 76.42% | 80.4% | 80.08% | 84.73% | 84.01% | 83.24% | 82.49%
% recorded 5 spills or less | 38.8% | 30.83% | 34.93% | 43.64% | 39.53% | 41.43% | 40.04% | 30.59% | 35.96% | 35.6% | 37.49%
% recorded 10 spills or less | 55.69% | 45.83% | 47.44% | 54.22% | 48.6% | 51.76% | 54.24% | 39.52% | 48.22% | 44.33% | 48.4%
% recorded >10 spills | 44.31% | 54.17% | 52.56% | 45.78% | 51.4% | 48.24% | 45.76% | 60.53% | 51.78% | 55.67% | 51.61%
% recorded 20 spills or more | 28.75% | 44.17% | 38.76% | 32.94% | 40.51% | 34.08% | 30.93% | 49.72% | 36.46% | 43.63% | 38.71%
% recorded 40 spills or more | 9.772% | 24.17% | 17.63% | 14.4% | 25.09% | 15.12% | 15.25% | 33.38% | 14.55% | 25.68% | 20.34%
% recorded 60 spills or more | 3.131% | 8.333% | 6.494% | 7.301% | 16.93% | 5.218% | 6.568% | 21.77% | 4.484% | 14.12% | 10.71%
% recorded 100 spills or more | 0.4744% | 1.667% | 1.162% | 1.518% | 6.727% | 0.7455% | 0.2119% | 7.813% | 1.015% | 2.455% | 2.875%
% recorded 200 spills or more | 0% | 0% | 0% | 0.2461% | 0.6803% | 0% | 0% | 0.761% | 0% | 0.1416% | 0.2523%
Table 5: 2022 Storm Overflow Spill Reasons Please note these metrics are in development. In 2022 there is some inconsistency in approach by different Water & Sewerage Companies | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Totals / Average
No. monitored storm overflows that spilled >60 in one year | 29 | 10 | 93 | 166 | 219 | 49 | 31 | 421 | 48 | 289 | 1355
Of those that spilled over SOAF thresholds of >60x in one year, % with a reason provided | 100% | 50% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 99.63%
Of those that spilled over SOAF thresholds of >60x in one year, what % due to exceptional rainfall throughout the year? | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Of those that spilled over SOAF thresholds of >60x in one year, what % due to other operational (incl. asset maintenance)? | 48.28% | 0% | 8.602% | 1.205% | 10.5% | 0% | 38.71% | 21.38% | 43.75% | 25.95% | 18.08%
Of those that spilled over SOAF thresholds of >60x in one year, what % due to hydraulic capacity reasons? | 17.24% | 0% | 78.49% | 37.95% | 55.25% | 0% | 58.06% | 78.62% | 12.5% | 68.51% | 60.15%
Of those that spilled over SOAF thresholds of >60x in one year, what % N/A - Ongoing Investigation for primary reason? | 34.48% | 50% | 12.9% | 60.84% | 34.25% | 100% | 3.226% | 0% | 43.75% | 5.536% | 21.4%
Storm overflows are permitted to operate due to rainfall and/or snowmelt. The root cause for high spill frequency can be attributed to three main reasons over and above response to typical rainfall. These are fully defined in the Storm Overflow Assessment Framework (SOAF) and summarised below.
Exceptional rainfall: This does not refer to individual rainfall events, but rather the rainfall across the reporting year. Two datasets can be used to determine whether rainfall in the reporting year was "exceptional" or not (over & above typical rainfall) – (1) Environment Agency water situation reports or (2) local rainfall records.
If rainfall was exceptional and deemed the primary reason for high spill count then this is indicated in the annual return (Column W).
Asset Maintenance: Where the asset (storm overflow) and potentially parts of the upstream & downstream sewer network have not operated as designed/expected, high spill counts (over 60 times per year) can be caused.
If asset maintenance is deemed the primary reason for high spill count this is indicated in the annual return (column W). The different asset maintenance categories are listed in the EDM dataset README guide Appendix A.
Hydraulic capacity: If the reason for a high spilling storm overflow (over 60 times per year) is neither “exceptional rainfall” nor “asset maintenance” then the reason is classified under the “Hydraulic capacity” category.
This indicates there is insufficient capacity (conveyance or storage) in the sewer network to cope with the wastewater flow plus typical rainfall entering the sewer network.
Link to: Storm Overflow Assessment Framework (SOAF)
Table 6: 2022 EDM Storm Overflow Annual Return Data Entry | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Totals / Average
Total no. storm overflows listed in the annual return in 2022 | 1552 | 126 | 1564 | 2466 | 1342 | 978 | 777 | 2254 | 1300 | 2221 | 14580
Total no. storm overflows with EDM commissioned | 1058 | 126 | 1542 | 2457 | 1333 | 963 | 480 | 2004 | 1182 | 2178 | 13323
% storm overflows listed with EDM commissioned | 68.17% | 100% | 98.59% | 99.64% | 99.33% | 98.47% | 61.78% | 88.91% | 90.92% | 98.06% | 91.38%
Total no. storm overflows with EDM device operability data | 1058 | 126 | 1542 | 2457 | 1333 | 963 | 479 | 1863 | 1182 | 2178 | 13181
% storm overflows with EDM Operation data provided where expected | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 92.96% | 100% | 100% | 98.95%
Total no. storm overflows with spill data | 1054 | 120 | 1463 | 2438 | 1323 | 939 | 472 | 1971 | 1182 | 2118 | 13080
% storm overflows listed with spill data | 67.91% | 95.24% | 93.54% | 98.86% | 98.58% | 96.01% | 60.75% | 87.44% | 90.92% | 95.36% | 89.71%
% storm overflows with <90% operability where valid reason provided | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100.1%
% of storm overflows >60 spills in one year with a reason provided | 100% | 50% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 99.63%